CONTRACTOR’S CERTIFICATE OF SHOP DRAWING QUALITY CONTROL

Wisconsin Department of Transportation (WisDOT)

DT2333    3/2015

| Project I.D. | Structure Number |
| --- | --- |
| Highway | County |
| Project Name |  |
| District Contact | Region |
| Design Engineer |  |
| Contractor Shop Drawing Submittal Ref. No. |  |

The Wisconsin Department of Transportation places all responsibility for quality review of shop drawings on the Contractor.  With each shop drawing submittal, the Contractor must include this certification that the following items have been checked on Shop Detail Drawings.  See Section 4 of AASHTO/NSBA G1.1 for details of each checklist item.  A Professional Engineer must initial each item below to indicate the review was completed (or if not applicable, indicate with “N/A”), and provide PE stamp, signature and date in the lower right.  General Contractor must sign the statement of certification in the lower left.

Shop drawings submitted with this certificate incomplete, unstamped, or missing, will be rejected.

| Initials | Item |  |
| --- | --- | --- |
|  | 4.1 Principal Controlling Dimensions, Material and Connection Properties |  |
|  | 4.2 Web and flange plates of welded members and rolled beam stringers |  |
|  | 4.3 Stiffener and connection plates |  |
|  | 4.4 Bolted Splices |  |
|  | 4.5 Crossframes and diaphragms |  |
|  | 4.6 Camber and/or mid-ordinate for cambered rolled beams or girder sections |  |
|  | 4.7 Elevation at center of span or segment, field-splice, abutment and pier ordinates on shop assembly diagrams |  |
|  | 4.8 Number and spacing of bolts in floor beam and cross girder connections as well as special attachments |  |
|  | 4.9 General notes and detail sheets relative to cleaning and painting |  |
|  | 4.10 Designation of material, tension zones and welds for Fracture Critical Members (FCM’s), including applicable NDT. |  |
|  | 4.11 Material and material testing |  |
|  | 4.12 Incorporation of all necessary revisions into the Shop Detail Drawings |  |
|  | 4.13 Erection Framing Plan details |  |
|  | 4.14 All “Contractor verify” or “Field verify” queries resolved |  |
|  | 4.15 Compliance with WisDOT Standard Specifications and project-specific requirements |  |
|  | 4.16 Special needs for truss, cable stayed, suspension, tied arch and moveable (lift, swing, bascule) bridges. |  |
| STATEMENT OF CERTIFICATION I hereby certify that the attached shop drawings have been reviewed as indicated above and in accordance with Section 4 of AASHTO/NSBA G1.1, by the Professional Engineer whose stamp is located to the right and that we accept them as an accurate representation of the contract documents. (Contractor Company Name) X (Authorized Signature) (Date – m/d/yyyy) (Title) (Print Name) |  | PROFESSIONAL ENGINEER STAMP |
|  |  | Name |
|  |  | Date |