## qandasearchletting_results
Date: | 2020-06-08
Letting | Proposal | Call Order | Subject | Question | Answer | Answered By | Number | Asked | Answered
20200609 | 20200609001 | 1 | Aggregate Items - CY to Ton design Conversion Factors | What is the CY to Ton conversion factor used on these items: Base Aggregate Dense 3/4 Inch, Base Aggregate Dense 1-1/4 Inch, Base Aggregate Dense 3 Inch, Base Aggregate Open-grade and Select Crushed? | The conversion factors used to calculate quantities were as follows: Base Aggregate Dense ¾-Inch: 2.1 Tons/CY Base Aggregate Dense 1 ¼-Inch: 2.0 Tons/CY Base Aggregate Dense 3-Inch: Not Used on Project Base Aggregate Dense Open Graded: 1.9 Tons/CY Select Crushed Material: 1.9 Tons/CY These are all corridor wide conversion rates. | Mike Coleman | 1 | 2020-05-07 08:45 | 2020-05-13 07:34
20200609 | 20200609001 | 1 | Electronic Data Request | Please provide these files below: 1. Existing ground surface file, in LandXML format. 2. Reference line alignments and proposed profiles, in LandXML format. 3. Superelevation transition information, .csv format. 4. Proposed roadway features, 2D DWG file. 5. Proposed structure horizontal features, 2D DWG file. 6. Surface models, Proposed Top of Pavement and Datum, in LandXML format 7. Proposed surface model longitudinal breaklines, 3D AutoCAD DWG files 8. Slope stake report, .csv format. 9. Earthwork data, Excel spreadsheet xlsx file(s). 10. Right of Way and easement data, LandXML and/or 2D AutoCAD DWG file. 11. Design Schedule 12. Soils Report | The files requested can be found at the following location: ftp://ftp.dot.wi.gov/dtsd/hcci/projectdocuments/20200609001/ 3. Provided as pdf format. 7. We have not been providing break lines lately due to the complexity and detail of the surfaces. Contractors have been creating their own break lines if desired 11. The design schedules provided is draft and not for bidding purposes. The contractor is required to develop their own schedule and bid to meet the specifications in the plans, special provisions and any addendum that is developed. | Mike Coleman | 2 | 2020-05-07 08:47 | 2020-05-14 12:42
20200609 | 20200609001 | 1 | Electronic Data Request | Can the department provide design files for the subgrade improvement layers within the roadway for this project (i.e. 1-1/4" Base Aggregate Dense and Select Crushed)? Also, are there any design files for "Safety Rest Area 22" (project ID 1008-10-70)? | The design files for the top of the subgrade improvement layer, or bottom of the 1 ¼-Inch base layer, was provided as part of the metadata submitted to WisDOT for the project. The surfaces that were provided as part of the metadata included the top surface (top of concrete/asphalt/shoulder), base course (top), subbase (top), datum (bottom of subgrade improvement and sideslopes). The contractor should already have all of the information they need. The design files for project 1008-10-70 (Safety Rest Area) can be found at the following location: ftp://ftp.dot.wi.gov/dtsd/hcci/projectdocuments/20200609001/ | Mike Coleman | 3 | 2020-05-26 15:25 | 2020-06-01 06:49
20200609 | 20200609001 | 1 | Paving and Grading STA 1227+00 XSB to 1184+50 XSB | Stage 3A and 4A the new pavement is shown to match the existing pavement. Are the existing and proposed grades the same? Will the Department waive IRI requirements when the new pavement has to match existing? | Yes, the proposed grades are the same as the existing grades as the match point. For design, a profile was set on the joint line and was used to match the existing elevation of the adjacent lane. The slopes of the lanes are also intended to be the same with respect to the expected super at any given location Stage 3A is adjacent to the new lane and should be able to meet the IRI ride requirements. It does not need to match perfectly the middle lane since that will be removed in stage 4A. If any IRI requirements are to be waived, that would need to be discussed during the project. | Mike Coleman | 4 | 2020-05-26 15:29 | 2020-05-28 07:38
20200609 | 20200609001 | 1 | Concrete Paving STA1227+00 XSB to 1184+50 XSB. | STA 1227+00 XSB to 1184+50 XSB The tie bar between the lane constructed in stage 3A and the new lane constructed in Stage 4A cannot be inserted in Stage 3A. Will the department pay for these as drilled tie bars? How did the Department think this would be inserted into fresh concrete? | The intent was that the paving contractor would place â€œLâ€ shaped tie bars along the edge during placement of the new concrete pavement in Stage 3A and they would be bent out in Stage 4A. One option would be to saw cut the concrete off the joint instead of at the joint to allow for that additional room to be able to place the bent bars in fresh concrete. This would allow for the additional room to place the bent bar; however would likely require the temporary concrete barrier to be pinned. We will be issuing an addendum and plan to address this comment by including â€œDrilled Tie Barsâ€ for this area so that if drilling is necessary there will be an item to pay for the process. | Mike Coleman | 5 | 2020-05-26 15:31 | 2020-05-28 07:40
20200609 | 20200609001 | 1 | Paving and grading STA 1227+00 XSB to 1184+50 XSB. | Would the Department require the temporary barrier to be pinned if the removal was extended to the back of the temporary barrier? This would give the contractor more room to install tie bars to tie new pavement placed in 3A to pavement that is constructed in stage 4A. | Yes, the temporary concrete barrier would need to be pinned if there is not a 4â€™ buffer between back of barrier and drop off. However, the contractor could do as stated below to create more room for tie bars to be installed. Any changes that are different from the plan would need to be approved by the field engineer. | Mike Coleman | 6 | 2020-05-26 15:34 | 2020-05-28 07:41
20200609 | 20200609001 | 1 | Paving and Grading Stage 4A STA 1227+00 XSB to 1184+50 XSB | STA 1227+00 XSB to 1184+50 XSB Stage 4A presents significant safety and construction challenges for material removal/deliveries in the work zone. Is this stage intended for night construction? The work zone is only wide enough to back one truck all the way to the excavator/grader/paver and then wait for it to drive out of the work zone before backing the next truck in. How did the Department figure this would be constructed safely with traffic on both sides of a narrow work zone? There isn't enough room for an excavator to swing without the boom going into traffic. The concrete could be belted over the barrier wall with a night lane closure but there would be a significant drop distance to the subgrade. | Correct, Stage 4A was anticipated for night work with a nightly lane closures. | Mike Coleman | 7 | 2020-05-26 15:58 | 2020-05-28 07:42
20200609 | 20200609001 | 1 | Clarification on which stage(s) structure B-13-463 widening will occur. Project 1007-12-80 | Please see Plan sheet 937 Traffic Control sheet stage 1B note: "EXISTING BRIDGE B-13-463 TO BE WIDENED AFTER STAGE 1B. SEE STAGE 2A OF THE 1007-12-79 PLANS TRAFFIC CONTROL DEVICE LAYOUT." In the Special Provisions Prosecution & Progress Stage 1 (1007-12-80) (pages 9 & 10 of 159) it refers to work being done on B-13-463 "during" stage 1A & 1B. On traffic control plan sheet (sheet 951) for Stage 2A, It shows the work zone for the widening occurring in stage 2A. Please Clarify. | The widening for structure B-13-463 shall occur concurrently with the widening of structure B-13-462. This work shall begin after the HMA shoulder replacements in stage 1B are completed (or during Stage 2 (A/B) of the -79 project as seen on sheet 213). The substructure work along Femrite Drive can begin in Stages 1A/B as noted in the special provisions. Stage 2A (Sheet 951) shows when to apply the polymer overlay to structure B-13-463. | Mike Coleman | 8 | 2020-05-26 16:42 | 2020-05-28 08:01
20200609 | 20200609001 | 1 | Clarification for removals at C-13-044 | In plan set 100-12-79 sheet 603 the "total estimate of quantities" chart shows bid item Removing Old Structures over waterway Sta 1212+84 'XSB'. In the General Notes on the right side it states "Removing old Structures Sta 1212+84'XSB', Includes Removing Inlet & outlet Wings & Apron. Article 28 (1) of the special provisons states: Remove portions of existing Structures at 1212+84â€™XSBâ€™ and the entire structure at 1213+00â€™XNBâ€™ at Pennito Creek. Is the removal under 1 bid item or both? or is there an different structure at sta 1213+00'XNB"? | The Removing Old Structures Over Waterway STA 1212+84 'XSB' is associated with the work required for the Pennito Creek box culvert extension work being completed under project ID 1007-12-79. The Removing Old Structures Over Waterway STA 1213+00 'XNB' is associated with the removal of a smaller structure located to the east of IH 39 under project ID 1007-12-80 per the Construction Detail on page 786 and Removals note showing the location on page 793 of the plan. | Mike Coleman | 9 | 2020-05-27 07:44 | 2020-05-28 08:02
20200609 | 20200609001 | 1 | Structure R-13-335 Plans location | Plans sheets 799, 817, 1084 & 1094 all have the note: RETAINING WALL STRUCTURE "R-13-335 REQ'D (SEE STRUCTURE PLAN)" Cannot find structure plans for R-13-335 in plan set. Please advise | The R-13-335 plans are in the plan set. The overall plan contains 3 plan sets. R-13-335 is on page 594 of the plan for 1007-12-80 (or page 1328 of the overall plan). | Mike Coleman | 10 | 2020-05-27 15:02 | 2020-05-28 07:30
20200609 | 20200609001 | 1 | Waste Material | Are we able to waste excess material in the gore areas? | Any excess material cannot be placed within the gores of the interchange. | Mike Coleman | 11 | 2020-05-28 13:56 | 2020-06-01 10:45
20200609 | 20200609001 | 1 | Concrete Paving | 1007-12-79 Stage 4A and 1007-12-20 Stage 2B: Will daytime lane closures be allowed for saw cutting the new pavement that is to be placed under night time lane closures or does the Department prefer tooled joints in this area? There is no room in the work zone unless the saw/water truck is parked on the new pavement. | Daytime lane closures will not be guaranteed, however will consider requests for lane closures on a case by case basis dependent on the specific day(s) and times requested and traffic at those times. | Mike Coleman | 12 | 2020-06-01 15:33 | 2020-06-02 15:55
20200609 | 20200609001 | 1 | Concrete Paving | 1107-12-80 STA 2533+98 to 2551+00 Median lane paving along retaining wall coping. Will the Department waive the requirement to use a paver in this area? There is no room for the paver to track on the coping in front of the barrier. | The Department will waive the requirement for a paver at this location. | Mike Coleman | 13 | 2020-06-01 15:37 | 2020-06-02 15:55
20200609 | 20200609001 | 1 | File Format for Amendment 1 | Is amendment 1 the correct file format? What file format is amendment 1 (.001X)? AASHTOWare appears to not read this file. Thank you. |  |  | 14 | 2020-06-03 11:01
20200609 | 20200609001 | 1 | pavement | How is the pavement under the s42 barrier wall paid? |  |  | 15 | 2020-06-08 10:35
20200609 | 20200609002 | 2 | Plan Cross Sections for Proposed Tapers | The stationing that is labeled on the top Finished Cross Sections on both plan sheets 6 and 7 appear to be incorrect. I believe the cross section on the top of sheet 7 should be from begin job 291+48 to the start of the cross section shown on the top of sheet 6 (sta?) and then Vice Versa for the end of the job ending at Sta 323+90. Can this be clarified? | The typical section as shown in the plan on page 6 is correct. The cross-sections illustrate how the slope intercepts transition back and forth between a cut and fill connection to the existing surface. Rather than show an cut or fill option for each unique typical section, the design team chose to illustrate a cut scenario with a partial typical section that includes a matchline that may be paired with the other fill typical section scenarios shown on pages 6, 7, 8 & 9. | Mike Coleman | 1 | 2020-06-02 15:21 | 2020-06-03 14:22
20200609 | 20200609003 | 3 | Temporary Paint Quantities | Good morning. Will you please take a look at the quantities you have in this project for temporary paint and clarify if they are correct? With the project remaining open to through traffic (proposal page 3 of 26), it would seem that you would need temporary paint on the milled surface (allowed for up to 72 hours) for the length of the entire project (except the net center line exception area) as well as on the lower layer from 33+40-90+00 as it appears that area has 2 layers. The note on the plan sheets state double yellow paint should be applied from 33+40-90+00 on the lower layer and double yellow paint on the milled surface from 529+00-546+00 which in and of itself comes up to more than the 5,000' included in the bid item. If markings are required daily after milling and after the lower layer in the respective sections, the project would, it would seem, require at least, if not more, the same temporary paint quantities as the same day epoxy quantities. Thank you. | An addendum will be issued to correct the quantities. | Mike Coleman | 1 | 2020-05-20 08:16 | 2020-05-21 11:49
20200609 | 20200609003 | 3 | August 3, 2020 late start | Good afternoon. This project let on June 9th will have issues starting by August 3rd and being completed within 30 days. Some of the issues arising include committing to, scheduling, and producing aggregate (other material) once a contract is secured, and availability of major work item equipment/people already committed to other projects in August. Will you consider eliminated the August 3rd date and adding cold-weather paving to this project? Thank you. | An addendum will be issued to address project schedule. | Mike Coleman | 2 | 2020-05-22 12:33 | 2020-05-28 06:16
20200609 | 20200609003 | 3 | Barrier Systems - Finishing | Will the erosion mat be incidental to the Grade/Shape/Finish item? It is not incidental per the Standard Spec. | Erosion mat will not be incidental to the Grade/Shape/Finish item. Quantities will be added as part of an addendum. | Mike Coleman | 3 | 2020-05-27 08:40 | 2020-05-28 06:18
20200609 | 20200609003 | 3 | Removing Guardrail | It appears only the anchors are being removed and the remaining guardrail is being adjusted. The quantities do not reflect this. | Guardrail quantities will be addressed as part of an addendum. | Mike Coleman | 4 | 2020-05-27 08:55 | 2020-05-28 06:18
20200609 | 20200609005 | 5 | Fish Spawning Timeline | In the special provisions it states that there shall be no instream disturbance of Rocky Run Creek from September 15 to May 15. Is this correct? The project can't get started until after August 3 per the special provisions. | The August 3rd date is correct. The instream work includes removals. The new abutments are slightly behind the existing, construction of those were not considered in-stream disturbances. The August 3rd date was added when the project was advanced to the June letting in order to accommodate SW Region staffing. | Mike Coleman | 1 | 2020-05-21 10:16 | 2020-05-26 07:59
20200609 | 20200609005 | 5 | Asbestos Inspection Report | Could we get a Asbestos Inspection Report for this Project? Please and Thank you. | The asbestos report can be found at the following location: ftp://ftp.dot.wi.gov/dtsd/hcci/projectdocuments/20200609005/ | Mike Coleman | 2 | 2020-06-04 13:44 | 2020-06-05 06:47
20200609 | 20200609006 | 6 | Pre-Boring | Can we obtain a copy of the Soil Boring Report for this proposal? | The soils report can be found at the following location: ftp://ftp.dot.wi.gov/dtsd/hcci/projectdocuments/20200609006/ | Mike Coleman | 1 | 2020-05-20 09:36 | 2020-05-20 10:29
20200609 | 20200609006 | 6 | Access | Is there any access to the South side? | The City of Portage has a public trail access off of McFarlane and W. Mullett. The trail is not rated for heavy equipment or truck traffic. The contractor may access south side of the project by building a tracking mat to protect the surface of the trail and the levee preferably off of the W. Mullett end. A map can be found at the following location: ftp://ftp.dot.wi.gov/dtsd/hcci/projectdocuments/20200609006/ | Mike Coleman | 2 | 2020-06-01 13:44 | 2020-06-01 15:04
20200609 | 20200609007 | 7 | CAD Files | Are CAD files for this project available? | The design files can be found at the following location: ftp://ftp.dot.wi.gov/dtsd/hcci/projectdocuments/20200609007/ | Mike Coleman | 1 | 2020-05-27 06:01 | 2020-06-01 07:24
20200609 | 20200609007 | 7 | New connection stiffeners to the existing girders on B-67-116/117 | In regards to the new connection stiffeners that are to be added to the existing girders on B-67-116/117 to accommodate the widening. It appears by the plan details that these stiffeners are to be field welded in place. Would the department consider making this a bolted connection instead, and field drill holes into the existing girder webs for the new stiffener angles. With all of the scrutiny that is placed on field welding to the web of a girder it seems like the bolted connection would be a better solution. | The basis for the bid shall be the field welded connection by a certified welder. Any changes to the contract would be per standard specification 104.2. | Mike Coleman | 2 | 2020-05-27 11:56 | 2020-06-01 08:18
20200609 | 20200609007 | 7 | Steel Thrie Beam Railing Retrofit | The plans state that a 1" dia hole needs to be drilled through wood blocking and bridge railing. The spacing of these holes has to be at 6'3". Do the holes through the bridge railing need to be cored (through existing rebar and concrete)to keep the beam guard spacing exact and to eliminate any spalling on the backface or can drilling be allowed, which will have to be bounced around to miss existing rebar and potentially move the bolt spacing to accommodate new spacing on the drilled holes, which will spall the backface of the parapet? | 6â€™-3â€ is the nominal spacing and small adjustments (1 to 2â€) to spacing are acceptable. Any damage to the back face of concrete parapet due to the bolt drilling must be repaired following Standards Specification requirements for Concrete Surface Repair and included with the cost of the Steel Thrie Beam Railing Retrofit. | Mike Coleman | 3 | 2020-06-01 12:07 | 2020-06-01 13:42
20200609 | 20200609007 | 7 | Bridge deck rebar type | While doing our take-off we noticed that both bridge decks are shown as plain rebar. Please confirm if this is correct. The parapets are listed as epoxy coated and we would have thought the deck would be also. | No - deck rebar is not epoxy coated following BOS guidance for this project per Consultant. | Mike Coleman | 4 | 2020-06-03 11:16 | 2020-06-04 06:26
20200609 | 20200609007 | 7 | Parapet Retrofit Blocking | The detail for the parapet Retrofit on Sheet 29 of 32 in the structure plans (pg. 163) shows a 2-3/4" wood block between the existing parapet wall and the new steel thrie rail. This wood blocking is to be fastened to the parapet wall with 7/8" threaded bolts and then the thrie rail lag bolted to the wood blocking with 5/8" lag bolts that are 5-1/2" long. The lag bolts are twice as long as the thickness of the wood blocking so this design is not possible. |  |  | 5 | 2020-06-04 15:47
20200609 | 20200609007 | 7 | Road Closures for Paint | The special provisions allow for closures for girder installation, placing deck forms, and pouring deck to complete mobilizations of equipment and materials needed for Stage 2 work operations. Will closures also be available for the painting? All of this work will need to be completed from the road below. | Closures will also be available for the painting. | Mike Coleman | 6 | 2020-06-05 12:50 | 2020-06-08 06:25
20200609 | 20200609008 | 8 | Pavement Marking Yield Lines | bid item #0258 - Yield Line Epoxy 18" has a total of 4, however the actual number of Triangles is closer to 64 each. The bid item, as we have been directed by department should be by each triangle painted, and not per locations. will this be addressed by addendum? Please advise. | The quantity is incorrect. An addendum will be issued to correct this. | Mike Coleman | 1 | 2020-05-17 12:55 | 2020-05-18 07:23
20200609 | 20200609008 | 8 | Design Schedule | Can the design schedule be submitted? | The design schedule can be found at the following location: ftp://ftp.dot.wi.gov/dtsd/hcci/projectdocuments/20200609008/ The schedule provided is draft and not for bidding purposes. The contractor is required to develop their own schedule and bid to meet the specifications in the plans, special provisions and any addendum that is developed. | Mike Coleman | 2 | 2020-05-27 04:11 | 2020-05-27 09:30
20200609 | 20200609008 | 8 | pavement removal for plating | We would like to request the department to make the pavement removal for plating and adjusting the manholes incidental to Cover Plates Temporary or the Manhole Adjustment bid items. | The decision was made to leave it as is in the Plans. However, the special provision for Cover Plates Temporary will be updated by addendum to match the construction detail. The quantity is separated in the miscellaneous quantities so if a concrete contractor removes pavement for base patches, median and island modifications and a storm sewer contractor removes pavement for plating and adjusting manholes, they should have enough information to put together their bid. | Mike Coleman | 3 | 2020-05-28 13:01 | 2020-05-28 13:03
20200609 | 20200609008 | 8 | Tie Bars | Is the tie bar quantity correct? | The tie bar quantity has been reviewed and will be revised via addendum #2. | Mike Coleman | 4 | 2020-05-31 18:54 | 2020-06-03 09:12
20200609 | 20200609008 | 8 | Concrete collars for pipe | the detail note on sheet 94 indicates the concrete collar is incidental to the Reconnect Storm Sewer Lateral item. the MQ's have both items at the same locations. which is correct? | The item concrete collar will be removed by addendum, and concrete collars will be incidental to the Reconnect Storm Sewer Laterals item. | Mike Coleman | 5 | 2020-06-01 10:38 | 2020-06-01 15:09
20200609 | 20200609008 | 8 | Steel Thrie Beam Railing Retrofit | The plans state that a 1" dia hole needs to be drilled through wood blocking and bridge railing. The spacing of these holes has to be at 6'3". Do the holes through the bridge railing need to be cored (through existing rebar and concrete)to keep the beam guard spacing exact and to eliminate any spalling on the backface or can drilling be allowed, which will have to be bounced around to miss existing rebar and potentially move the bolt spacing to accommodate new spacing on the drilled holes and increase chances of spalling on backface of parapet? Also the plan shows removing of the existing steel railing and not replacing which will increase the fall exposure to the public once the project is opened up to traffic. Should railing be left in place to minimize that exposure? | 6â€™-3â€ is the nominal spacing and small adjustments (1 to 2â€) to spacing are acceptable. Any damage to the back face of concrete parapet due to the bolt drilling must be repaired following Standards Specification requirements for Concrete Surface Repair and included with the cost of the Steel Thrie Beam Railing Retrofit. For the second part the design team agrees with the concern and will submit an addendum calling for the railing to remain in place. | Mike Coleman | 6 | 2020-06-01 12:10 | 2020-06-03 09:07
20200609 | 20200609008 | 8 | Echelon Paving equipment | Is Echelon paving to require use of 2 pavers or 3? | 3 pavers were the basis of the schedule. However, if joints are not formed alternate paving configurations would be considered. | Mike Coleman | 7 | 2020-06-04 09:46 | 2020-06-04 11:26
20200609 | 20200609008 | 8 | Echelon paving requirement for upper and lower | Are echelon paving operations required for both upper and lower asphalt courses? | Yes | Mike Coleman | 8 | 2020-06-04 09:47 | 2020-06-04 11:27
20200609 | 20200609008 | 8 | time constraints between asphalt lower and upper placement | With the use of the use of ramping asphalt binder course at manholes and butt joints per details on sheet 10, why is it necessary that the asphalt binder and surface courses be placed within 72hours? | The 72 hour timeframe is to limit the amount of traffic runs on the binder. | Mike Coleman | 9 | 2020-06-04 09:50 | 2020-06-04 10:50
20200609 | 20200609008 | 8 | 2020 asphalt paving testing | Is the small amount of asphalt paving in 2020 season to be PWL or QMP testing? If PWL, will the mix designs used in 2020 be allowed for use on the project in 2021 regardless the mix designs' expiration dates? | The 2020 paving is QMP. The 2021 paving is PWL. | Mike Coleman | 10 | 2020-06-04 09:53 | 2020-06-04 10:52
20200609 | 20200609008 | 8 | Echelon Paving | When paving in echelon, would it be acceptable to pave mainline in two 18' passes? | No. The design intended for asphalt joints to fall on top of the underlying concrete pavement joints for longitudinal joints between lanes 1, 2 & 3. However, if joints are not formed alternate paving configurations would be considered. | Mike Coleman | 11 | 2020-06-04 15:40 | 2020-06-08 06:29
20200609 | 20200609008 | 8 | Pavement Removal for Mahole Adjustments. | Can WisDOT in the future please make the removal of the pavement for Manhole Adjustments incidental? It is impractical for the Pavement Removal contractor to perform this work when the Manhole Adjustments are being performed by another subcontractor. Maybe WisDOT could consider bidding this work like it has for decades where the pavement removal for manhole adjusts is incidental to the Manhole Adjust. |  |  | 12 | 2020-06-07 08:54
20200609 | 20200609008 | 8 | Winter Shutdown | The Special Provisions in the section titled Winter Shutdown states do not begin signal work until spring of 2021. We would like to start signal work in 2020. Can WisDOT please be more specific? Can related conduit work be performed? Is there an reason's bases cannot be performed in 2020? |  |  | 13 | 2020-06-07 09:05
20200609 | 20200609009 | 9 | Temporary paint and locating no passing zones | Good afternoon. It appears there are only quantities of temporary paint on the milled surface for 4' skips throughout the project irregardless of no passing zones being needed. On plan sheet 56 it shows that, in a two way traffic situation, 4' skips and no passing zones should be used for temporary markings. In addition, it appears that the project has multiple zones but does not have a bid item for locating the no passing zones as would be typical on projects such as this. Will an addendum be issued to address the no passing zone locating and the quantities needed for no passing zones on the milled surface? Thank you. | The quantity for item 649.0105 will be updated to include increased no passing zone quantities via an addendum. No bid item will be included for locating no passing zones. Instead, the contract will follow standard spec 646.3.2.1 (2) for locating existing no passing zones. | Mike Coleman | 1 | 2020-05-27 14:44 | 2020-06-01 10:42
20200609 | 20200609010 | 10 | HMA Pavement vs. Asphaltic Surface | Based on the staged construction, and required asphalt tons per stage, CMM Guidance would dictate that mix testing, and therefore density testing, would not be required for asphalt paved under the HMA Pavement item. Would the department consider changing the HMA Pavement to Asphaltic Surface? | Based on guidance from the department's chief pavement engineer, the pavement will remain HMA. Per standard spec 460.2.8.2.1.3.3, contracts with less than 500 ton, the engineer may waive QC testing. | Mike Coleman | 1 | 2020-06-04 07:44 | 2020-06-04 12:51
20200609 | 20200609011 | 11 | HMA Pavement vs. Asphaltic Surface | Based on the staged construction, and required asphalt tons per stage, CMM Guidance would dictate that mix testing, and therefore density testing, would not be required for asphalt paved under the HMA Pavement item. Would the department consider changing the HMA Pavement to Asphaltic Surface? | Based on guidance from the department's chief pavement engineer, the pavement will remain HMA. However, an addendum will be issued to make this MT mix vs LT due to future project in the area will be MT mix. Per standard spec 460.2.8.2.1.3.3, contracts with less than 500 ton, the engineer may waive QC testing. | Mike Coleman | 1 | 2020-06-04 07:45 | 2020-06-04 10:48
20200609 | 20200609013 | 13 | Temporary Shoring | What is the intent of the temporary shoring? | The intent of the temporary shoring item is to support the open lane of traffic for the staging of the deeper culvert pipe replacements. If contractor means & methods determine that temporary shoring would not be needed to acceptably replace the culverts, then the item not be required. | Mike Coleman | 1 | 2020-06-02 16:56 | 2020-06-03 09:00
20200609 | 20200609014 | 14 | Temporary shoring quantities | The temporary shoring only states 220sf. Is that for only one wing? Quantity seems too small for all 4 wing walls. | The estimated quantity of temporary shoring as shown on the plan is for four wing walls. The quantity of temporary shoring was estimated as the area of exposed face in the plane of the shoring from the ground line in front of the shoring, as shown on plan sheet 2, to a maximum of one foot above the retained grade. | Mike Coleman | 1 | 2020-06-03 09:06 | 2020-06-03 14:20
20200609 | 20200609015 | 15 | Earthwork tables | Would the Dept please provide the earthwork tables in excel format. | The earthwork tables can be found at the following location: ftp://ftp.dot.wi.gov/dtsd/hcci/projectdocuments/20200609015/ | Mike Coleman | 1 | 2020-05-21 08:25 | 2020-05-21 11:15
20200609 | 20200609015 | 15 | Bearing Repair, Item 374 | For the Bearing Repair on B-53-906, the detail on Section A-A sheet #6 of the plan states to â€œRemove existing damaged bolts at east bearing, replace with new 1â€ dia bolts.â€ Looking at the pictures available from inspection reports only the heads of these bolts are visible against the bearing top plates. Is there any detail as to how these bolts are currently held into place? | There are no details of how the existing bolts are currently held in place. | Mike Coleman | 2 | 2020-05-27 14:04 | 2020-06-01 08:26
20200609 | 20200609015 | 15 | Pavement Markings | Good afternoon, I am wondering if you could provide some clarity on the temporary pavement markings(paint) and the same day epoxy items? For the temporary paint bid item, it appears you have enough to do one layer and I am wondering if you may need to do these 2 times, once on the milled surface and once on the lower layer? For the same day epoxy bid item, it also appears you have enough for one application prior to the rumbles being placed but I do not see quantities for after the rumbles are placed? Will an addendum be issued to clarify these items? Thank you! | Depending on the contractorâ€™s proposed method for milling and paving, there could be a need for placing temporary paint pavement markings (TPPM) on the milled surface as well as on the lower layer. Quantities will be modified to address this possibility and included in an addendum. The large total quantity for TPPM assumes it will be applied to lower layer HMA for the majority of the project length (just east of CTH M to CTH E) during Stage 1, when USH 14 is open to thru traffic and requiring solid yellow lines for no passing zones. For the same day epoxy bid item, quantities will be increased to include same day epoxy pavement marking both before and after the centerline rumble strips are placed. | Mike Coleman | 3 | 2020-06-01 15:14 | 2020-06-04 06:30
20200609 | 20200609015 | 15 | DESIGN FILES | Could the Department supply the design files/surfaces for this project? IE existing/prop surfaces, linework, slope intercept, etc. |  |  | 4 | 2020-06-03 10:09
20200609 | 20200609017 | 17 | Temporary Guardrail | There is a bid item for 60 LF of Steel Plate Beam Guard Temporary. What type of terminal is required? | The Steel Plat Beam Guard Temporary will be attached to the existing end terminals. | Mike Coleman | 1 | 2020-05-29 07:45 | 2020-06-01 15:10